## Numayadahi
Numayadahi STP, 50 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 50 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2023-11-01 | 60900 | 60.9 | 7.21 | 7.69 | 130 | 16 | 304 | 40 | 272 | 24 | NA | 700 | 0.3 | 23.78 | 1400000
2023-11-02 | 60450 | 60.45 | 7.12 | 7.77 | 140 | 15 | 316 | 44 | 284 | 25 | NA | 400 | 0.2 | 24.16 | 1100000
2023-11-03 | 60980 | 60.98 | 7.06 | 7.76 | 145 | 17 | 324 | 44 | 278 | 23 | NA | 600 | 0.3 | 23.19 | 1200000
2023-11-04 | 60100 | 60.1 | 7.12 | 7.8 | 150 | 14 | 308 | 40 | 268 | 22 | NA | 500 | 0.3 | 24.04 | 1400000
2023-11-05 | 57800 | 57.8 | 7.16 | 7.74 | 140 | 15 | 300 | 40 | 276 | 24 | NA | 700 | 0.2 | 24.37 | 1300000
2023-11-06 | 60000 | 60 | 7.14 | 7.8 | 145 | 17 | 312 | 44 | 271 | 23 | NA | 500 | 0.3 | 23.54 | 1700000
2023-11-07 | 60450 | 60.45 | 7.05 | 7.78 | 135 | 15 | 304 | 36 | 263 | 24 | NA | 500 | 0.3 | 24.04 | 1100000
2023-11-08 | 59750 | 59.75 | 7.16 | 7.82 | 130 | 16 | 316 | 40 | 258 | 22 | NA | 700 | 0.2 | 23.55 | 1400000
2023-11-09 | 55900 | 55.9 | 7.06 | 7.8 | 140 | 17 | 320 | 44 | 254 | 24 | NA | 500 | 0.3 | 23.11 | 1400000
2023-11-10 | 58610 | 58.61 | 7.16 | 7.77 | 130 | 15 | 308 | 40 | 275 | 22 | NA | 600 | 0.2 | 22.96 | 1300000
2023-11-11 | 60790 | 60.79 | 7.05 | 7.83 | 140 | 15 | 300 | 36 | 280 | 21 | NA | 400 | 0.2 | 23.84 | 1400000
2023-11-12 | 61740 | 61.74 | 7.05 | 7.78 | 135 | 14 | 328 | 40 | 290 | 24 | NA | 500 | 0.3 | 24.26 | 1100000
2023-11-13 | 56350 | 56.35 | 7.1 | 7.8 | 145 | 17 | 304 | 44 | 274 | 23 | NA | 600 | 0.3 | 24.08 | 1300000
2023-11-14 | 60360 | 60.36 | 7.16 | 7.78 | 130 | 15 | 324 | 36 | 284 | 24 | NA | 400 | 0.2 | 23.55 | 1300000
2023-11-15 | 61360 | 61.36 | 7.1 | 7.81 | 140 | 14 | 316 | 40 | 288 | 22 | NA | 700 | 0.3 | 24.21 | 1400000
2023-11-16 | 56400 | 56.4 | 7.16 | 7.74 | 135 | 15 | 320 | 36 | 278 | 23 | NA | 500 | 0.3 | 23.8 | 1700000
2023-11-17 | 60010 | 60.01 | 7.11 | 7.77 | 145 | 15 | 324 | 36 | 282 | 23 | NA | 600 | 0.3 | 22.99 | 1400000
2023-11-18 | 57330 | 57.33 | 7.14 | 7.8 | 130 | 13 | 312 | 40 | 268 | 25 | NA | 400 | 0.2 | 23.69 | 1100000
2023-11-19 | 60240 | 60.24 | 7.12 | 7.82 | 125 | 14 | 324 | 44 | 276 | 24 | NA | 700 | 0.3 | 24.42 | 1300000
2023-11-20 | 60970 | 60.97 | 7.1 | 7.79 | 135 | 14 | 316 | 36 | 262 | 22 | NA | 500 | 0.2 | 23.08 | 1200000
2023-11-21 | 55500 | 55.5 | 7.06 | 7.81 | 140 | 15 | 308 | 36 | 270 | 24 | NA | 400 | 0.3 | 24.3 | 1700000
2023-11-22 | 60250 | 60.25 | 7.08 | 7.8 | 135 | 13 | 320 | 40 | 282 | 23 | NA | 600 | 0.2 | 22.46 | 1100000
2023-11-23 | 58700 | 58.7 | 7.11 | 7.78 | 140 | 15 | 312 | 40 | 286 | 22 | NA | 500 | 0.3 | 23.24 | 1400000
2023-11-24 | 59850 | 59.85 | 7.14 | 7.79 | 140 | 14 | 316 | 44 | 288 | 24 | NA | 400 | 0.3 | 24.32 | 1200000
2023-11-25 | 58450 | 58.45 | 7.11 | 7.81 | 145 | 16 | 308 | 40 | 268 | 23 | NA | 700 | 0.3 | 23.78 | 1400000
2023-11-26 | 58100 | 58.1 | 7.16 | 7.84 | 130 | 14 | 320 | 40 | 276 | 22 | NA | 600 | 0.2 | 24.17 | 1300000
2023-11-27 | 59010 | 59.01 | 7.12 | 7.79 | 140 | 13 | 304 | 36 | 258 | 23 | NA | 400 | 0.3 | 23.19 | 1100000
2023-11-28 | 57730 | 57.73 | 7.18 | 7.81 | 130 | 15 | 312 | 40 | 264 | 23 | NA | 600 | 0.3 | 24.25 | 1400000
2023-11-29 | 56780 | 56.78 | 7.03 | 7.8 | 145 | 16 | 320 | 40 | 272 | 24 | NA | 500 | 0.3 | 23.75 | 1700000
2023-11-30 | 53400 | 53.4 | 7.18 | 7.76 | 130 | 14 | 328 | 40 | 288 | 22 | NA | 700 | 0.2 | 23.54 | 1400000
Average | 58942 | 58.942 | 7.1167 | 7.788 | 137.3333 | 14.9333 | 314.2667 | 39.8667 | 274.4333 | 23.1333 | NA | 546.6667 | 0.26333 | 23.722 | 1340000
1768.26
Source: |  | Logbook of Labarotory at Sewage Treament Plant
Min | 53400 | 53.4 | 7.03 | 7.69 | 125 | 13 | 300 | 36 | 254 | 21 |  | 400 | 0.2 | 22.46 | 1100000
Max | 61740 | 61.74 | 7.21 | 7.84 | 150 | 17 | 328 | 44 | 290 | 25 |  | 700 | 0.3 | 24.42 | 1700000

## Salori
Salori STP, 29 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 29 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2023-11-01 | 38400 | 38.4 | 7.46 | 7.51 | 165 | 22 | 360 | 40 | 336 | 35 | NA | 500 | 0.3 | 24.9 | 1400000
2023-11-02 | 37630 | 37.63 | 7.48 | 7.56 | 160 | 19 | 352 | 36 | 322 | 33 | NA | 400 | 0.3 | 23.8 | 1100000
2023-11-03 | 37810 | 37.81 | 7.39 | 7.42 | 155 | 18 | 336 | 36 | 285 | 34 | NA | 600 | 0.2 | 23.2 | 1300000
2023-11-04 | 39170 | 39.17 | 7.43 | 7.48 | 160 | 20 | 348 | 40 | 319 | 32 | NA | 500 | 0.3 | 24.1 | 1700000
2023-11-05 | 38640 | 38.64 | 7.48 | 7.36 | 155 | 22 | 356 | 40 | 335 | 31 | NA | 700 | 0.2 | 23.5 | 1400000
2023-11-06 | 38530 | 38.53 | 7.44 | 7.39 | 160 | 24 | 344 | 36 | 308 | 30 | NA | 400 | 0.3 | 24.3 | 1200000
2023-11-07 | 35590 | 35.59 | 7.39 | 7.42 | 155 | 22 | 340 | 40 | 330 | 33 | NA | 600 | 0.3 | 24.8 | 1400000
2023-11-08 | 35910 | 35.91 | 7.46 | 7.31 | 160 | 20 | 336 | 40 | 326 | 31 | NA | 500 | 0.2 | 23.7 | 1100000
2023-11-09 | 38620 | 38.62 | 7.44 | 7.39 | 155 | 23 | 368 | 44 | 332 | 35 | NA | 400 | 0.3 | 24.4 | 1300000
2023-11-10 | 37250 | 37.25 | 7.42 | 7.32 | 155 | 25 | 360 | 42 | 328 | 33 | NA | 500 | 0.3 | 24.6 | 1700000
2023-11-11 | 36680 | 36.68 | 7.4 | 7.34 | 145 | 20 | 362 | 40 | 332 | 34 | NA | 700 | 0.2 | 24.5 | 1400000
2023-11-12 | 36130 | 36.13 | 7.41 | 7.38 | 150 | 18 | 368 | 38 | 336 | 32 | NA | 600 | 0.3 | 23.9 | 1200000
2023-11-13 | 33810 | 33.81 | 7.46 | 7.44 | 160 | 20 | 364 | 38 | 344 | 32 | NA | 400 | 0.2 | 24.6 | 1300000
2023-11-14 | 35140 | 35.14 | 7.43 | 7.4 | 155 | 21 | 350 | 40 | 334 | 33 | NA | 500 | 0.2 | 24.1 | 1400000
2023-11-15 | 34520 | 34.52 | 7.52 | 7.59 | 155 | 19 | 340 | 36 | 328 | 33 | NA | 500 | 0.3 | 24.6 | 1300000
2023-11-16 | 36030 | 36.03 | 7.48 | 7.63 | 160 | 24 | 328 | 40 | 290 | 30 | NA | 600 | 0.2 | 23.6 | 1700000
2023-11-17 | 39160 | 39.16 | 7.48 | 7.63 | 155 | 22 | 340 | 36 | 350 | 31 | NA | 700 | 0.3 | 22.7 | 1400000
2023-11-18 | 44160 | 44.16 | 7.51 | 7.62 | 160 | 20 | 316 | 36 | 330 | 29 | NA | 600 | 0.3 | 24.2 | 1300000
2023-11-19 | 43050 | 43.05 | 7.46 | 7.65 | 165 | 24 | 352 | 40 | 362 | 34 | NA | 400 | 0.3 | 24.6 | 1100000
2023-11-20 | 44130 | 44.13 | 7.43 | 7.59 | 155 | 27 | 344 | 44 | 338 | 35 | NA | 500 | 0.2 | 23.9 | 1700000
2023-11-21 | 43600 | 43.6 | 7.49 | 7.6 | 165 | 29 | 356 | 44 | 358 | 34 | NA | 700 | 0.2 | 24.3 | 1300000
2023-11-22 | 42830 | 42.83 | 7.51 | 7.58 | 160 | 26 | 352 | 44 | 342 | 36 | NA | 600 | 0.3 | 23.6 | 1400000
2023-11-23 | 46070 | 46.07 | 7.47 | 7.55 | 155 | 22 | 348 | 40 | 338 | 35 | NA | 700 | 0.3 | 22.7 | 1700000
2023-11-24 | 44410 | 44.41 | 7.45 | 7.61 | - | - | 360 | 40 | 352 | 33 | NA | 500 | 0.2 | 21.2 | 1400000 | Samples for BOD testing were not found in incubator during the visit on 30.11.2023. Hence, testing for the inlet & outlet of BOD were discarded.
2023-11-25 | 41690 | 41.69 | 7.53 | 7.65 | - | - | 344 | 44 | 310 | 36 | NA | 400 | 0.3 | 22.1 | 1300000
2023-11-26 | 43440 | 43.44 | 7.62 | 7.67 | 160 | 28 | 340 | 48 | 322 | 37 | NA | 700 | 0.2 | 22.4 | 1400000
2023-11-27 | 40540 | 40.54 | 7.66 | 7.7 | - | - | 348 | 44 | 336 | 35 | NA | 500 | 0.3 | 23.1 | 1100000 | Samples for BOD testing were not found in incubator during the visit on 30.11.2023. Hence, testing for the inlet & outlet of BOD were discarded.
2023-11-28 | 41010 | 41.01 | 7.6 | 7.67 | 160 | 27 | 352 | 44 | 306 | 37 | NA | 400 | 0.3 | 23.3 | 1200000
2023-11-29 | 43480 | 43.48 | 7.55 | 7.62 | 155 | 22 | 344 | 40 | 316 | 35 | NA | 600 | 0.2 | 22.8 | 1700000
2023-11-30 | 44800 | 44.8 | 7.6 | 7.67 | 160 | 23 | 356 | 40 | 332 | 36 | NA | 500 | 0.3 | 22.9 | 1400000
Average | 39741 | 39.741 | 7.4817 | 7.525 | 157.5926 | 22.4815 | 348.8 | 40.3333 | 329.2333 | 33.4667 | NA | 540 | 0.26 | 23.68 | 1376666.6667
1192.23
Source: |  | Logbook of Labarotory at Sewage Treament Plant
Min | 33810 | 33.81 | 7.39 | 7.31 | 145 | 18 | 316 | 36 | 285 | 29 |  | 400 | 0.2 | 21.2 | 1100000
Max | 46070 | 46.07 | 7.66 | 7.7 | 165 | 29 | 368 | 48 | 362 | 37 |  | 700 | 0.3 | 24.9 | 1700000

## Kodra
Kodra STP, 25 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 25 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2023-11-01 | 29670 | 29.67 | 7.26 | 7.4 | 120 | 11 | 316 | 32 | 274 | 21 | NA | 500 | 0.2 | 23.85 | 1100000
2023-11-02 | 28190 | 28.19 | 7.11 | 7.32 | 130 | 12 | 284 | 36 | 268 | 22 | NA | 400 | 0.2 | 24.09 | 1300000
2023-11-03 | 28950 | 28.95 | 7.09 | 7.42 | 135 | 14 | 308 | 40 | 277 | 23 | NA | 600 | 0.3 | 24.35 | 1700000
2023-11-04 | 28850 | 28.85 | 7.17 | 7.48 | 130 | 15 | 320 | 44 | 292 | 24 | NA | 700 | 0.3 | 23.93 | 1200000
2023-11-05 | 28560 | 28.56 | 7.29 | 7.47 | 135 | 16 | 336 | 40 | 304 | 26 | NA | 500 | 0.3 | 23.11 | 1300000
2023-11-06 | 27240 | 27.24 | 7.4 | 7.49 | 130 | 14 | 304 | 44 | 282 | 25 | NA | 600 | 0.3 | 24.36 | 1400000
2023-11-07 | 30520 | 30.52 | 7.36 | 7.44 | 120 | 13 | 316 | 40 | 297 | 23 | NA | 400 | 0.3 | 24.27 | 1100000
2023-11-08 | 26860 | 26.86 | 7.12 | 7.39 | 140 | 14 | 312 | 36 | 303 | 24 | NA | 500 | 0.3 | 23.45 | 1300000
2023-11-09 | 29630 | 29.63 | 7.14 | 7.32 | 135 | 11 | 324 | 32 | 298 | 22 | NA | 400 | 0.2 | 24.73 | 1700000
2023-11-10 | 29310 | 29.31 | 7.19 | 7.3 | 130 | 10 | 308 | 36 | 274 | 23 | NA | 600 | 0.2 | 23.93 | 1400000
2023-11-11 | 29550 | 29.55 | 7.11 | 7.31 | 135 | 11 | 328 | 32 | 309 | 22 | NA | 700 | 0.2 | 23.7 | 1300000
2023-11-12 | 30950 | 30.95 | 7.23 | 7.29 | 125 | 12 | 336 | 32 | 309 | 24 | NA | 600 | 0.2 | 24.09 | 1700000
2023-11-13 | 29100 | 29.1 | 7.16 | 7.27 | 140 | 11 | 348 | 36 | 323 | 22 | NA | 500 | 0.2 | 23.92 | 1200000
2023-11-14 | 28840 | 28.84 | 7.22 | 7.3 | 130 | 12 | 332 | 32 | 314 | 23 | NA | 400 | 0.3 | 23.33 | 1300000
2023-11-15 | 28950 | 28.95 | 7.19 | 7.28 | 125 | 11 | 320 | 36 | 297 | 22 | NA | 700 | 0.2 | 23.85 | 1400000
2023-11-16 | 29010 | 29.01 | 7.26 | 7.31 | 130 | 13 | 312 | 40 | 288 | 24 | NA | 400 | 0.2 | 24.72 | 1700000
2023-11-17 | 29460 | 29.46 | 7.38 | 7.33 | 120 | 10 | 308 | 32 | 280 | 23 | NA | 600 | 0.2 | 24.97 | 1100000
2023-11-18 | 26640 | 26.64 | 7.29 | 7.42 | 125 | 11 | 296 | 36 | 273 | 22 | NA | 400 | 0.2 | 24.27 | 1300000
2023-11-19 | 28520 | 28.52 | 7.35 | 7.27 | 135 | 12 | 316 | 32 | 296 | 23 | NA | 600 | 0.3 | 24.68 | 1200000
2023-11-20 | 28410 | 28.41 | 7.37 | 7.39 | 130 | 11 | 324 | 36 | 305 | 21 | NA | 500 | 0.2 | 24.1 | 1400000
2023-11-21 | 28830 | 28.83 | 7.36 | 7.41 | 125 | 13 | 332 | 40 | 314 | 23 | NA | 600 | 0.3 | 23.55 | 1100000
2023-11-22 | 29750 | 29.75 | 7.29 | 7.4 | 130 | 12 | 344 | 36 | 318 | 20 | NA | 700 | 0.3 | 23.43 | 1300000
2023-11-23 | 28980 | 28.98 | 7.13 | 7.37 | 120 | 13 | 328 | 40 | 309 | 22 | NA | 400 | 0.2 | 24.74 | 1200000
2023-11-24 | 28800 | 28.8 | 6.98 | 7.34 | 135 | 10 | 348 | 32 | 314 | 21 | NA | 600 | 0.2 | 23.11 | 1700000
2023-11-25 | 27730 | 27.73 | 7.11 | 7.32 | 130 | 11 | 336 | 36 | 310 | 23 | NA | 400 | 0.2 | 23.29 | 1400000
2023-11-26 | 30110 | 30.11 | 7.24 | 7.29 | 125 | 10 | 344 | 32 | 326 | 24 | NA | 500 | 0.3 | 23.47 | 1100000
2023-11-27 | 29690 | 29.69 | 7.17 | 7.28 | 130 | 12 | 340 | 36 | 318 | 22 | NA | 400 | 0.3 | 24.56 | 1300000
2023-11-28 | 30670 | 30.67 | 7.1 | 7.29 | 140 | 13 | 348 | 40 | 325 | 24 | NA | 700 | 0.3 | 24.71 | 1400000
2023-11-29 | 30140 | 30.14 | 7 | 7.36 | 135 | 12 | 444 | 36 | 436 | 23 | NA | 600 | 0.3 | 23.71 | 1100000
2023-11-30 | 31320 | 31.32 | 7.26 | 7.43 | 125 | 14 | 332 | 40 | 307 | 22 | NA | 700 | 0.2 | 22.84 | 1700000
Average | 29107.6667 | 29.1077 | 7.211 | 7.3563 | 129.8333 | 12.1333 | 328.1333 | 36.4 | 304.6667 | 22.7667 | NA | 540 | 0.24667 | 23.9703 | 1346666.6667
873.23
Source: |  | Logbook of Labarotory at Sewage Treament Plant
Min | 26640 | 26.64 | 6.98 | 7.27 | 120 | 10 | 284 | 32 | 268 | 20 |  | 400 | 0.2 | 22.84 | 1100000
Max | 31320 | 31.32 | 7.4 | 7.49 | 140 | 16 | 444 | 44 | 436 | 26 |  | 700 | 0.3 | 24.97 | 1700000

## Ponghat
Ponghat STP, 10 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 10 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2023-11-01 | 12890 | 12.89 | 7.32 | 7.68 | 120 | 16 | 292 | 36 | 230 | 25 | NA | 400 | 0.3 | 23.9 | 1300000
2023-11-02 | 12300 | 12.3 | 7.27 | 7.7 | 135 | 17 | 300 | 36 | 235 | 26 | NA | 600 | 0.3 | 24.15 | 1200000
2023-11-03 | 13040 | 13.04 | 7.24 | 7.66 | 130 | 16 | 296 | 32 | 220 | 25 | NA | 500 | 0.2 | 24.56 | 1100000
2023-11-04 | 13600 | 13.6 | 7.35 | 7.62 | 125 | 15 | 292 | 36 | 230 | 27 | NA | 700 | 0.3 | 24.68 | 1700000
2023-11-05 | 13480 | 13.48 | 7.32 | 7.58 | 135 | 16 | 304 | 32 | 240 | 26 | NA | 500 | 0.2 | 24.76 | 1300000
2023-11-06 | 12470 | 12.47 | 7.22 | 7.54 | 125 | 15 | 296 | 36 | 225 | 24 | NA | 600 | 0.3 | 24.28 | 1200000
2023-11-07 | 12100 | 12.1 | 7.18 | 7.52 | 135 | 16 | 300 | 32 | 215 | 23 | NA | 400 | 0.3 | 24.56 | 1100000
2023-11-08 | 11850 | 11.85 | 7.22 | 7.69 | 125 | 15 | 296 | 36 | 230 | 22 | NA | 500 | 0.2 | 24.2 | 1700000
2023-11-09 | 12610 | 12.61 | 7.18 | 7.62 | 130 | 16 | 292 | 32 | 220 | 23 | NA | 400 | 0.3 | 23.82 | 1100000
2023-11-10 | 14400 | 14.4 | 7.26 | 7.57 | 135 | 17 | 288 | 36 | 215 | 27 | NA | 600 | 0.3 | 24.36 | 1200000
2023-11-11 | 12320 | 12.32 | 7.34 | 7.56 | 125 | 16 | 284 | 32 | 220 | 26 | NA | 500 | 0.2 | 24.55 | 1300000
2023-11-12 | 14200 | 14.2 | 7.39 | 7.52 | 120 | 15 | 300 | 36 | 235 | 28 | NA | 700 | 0.3 | 24.46 | 1700000
2023-11-13 | 13120 | 13.12 | 7.28 | 7.6 | 125 | 16 | 292 | 32 | 220 | 24 | NA | 400 | 0.3 | 24.74 | 1400000
2023-11-14 | 14070 | 14.07 | 7.26 | 7.63 | 125 | 15 | 288 | 36 | 210 | 25 | NA | 600 | 0.2 | 24.15 | 1100000
2023-11-15 | 13360 | 13.36 | 7.36 | 7.58 | 135 | 14 | 312 | 32 | 250 | 24 | NA | 500 | 0.2 | 23.85 | 1300000
2023-11-16 | 13460 | 13.46 | 7.18 | 7.56 | 125 | 16 | 292 | 36 | 220 | 27 | NA | 700 | 0.3 | 24.36 | 1200000
2023-11-17 | 12870 | 12.87 | 7.28 | 7.6 | 130 | 15 | 300 | 32 | 235 | 24 | NA | 400 | 0.3 | 24.68 | 1500000
2023-11-18 | 13140 | 13.14 | 7.22 | 7.55 | 135 | 16 | 284 | 36 | 210 | 23 | NA | 600 | 0.2 | 24.76 | 1700000
2023-11-19 | 12730 | 12.73 | 7.15 | 7.52 | 130 | 15 | 288 | 32 | 220 | 22 | NA | 500 | 0.3 | 23.72 | 1400000
2023-11-20 | 11810 | 11.81 | 7.23 | 7.54 | 135 | 16 | 280 | 36 | 212 | 23 | NA | 400 | 0.2 | 23.36 | 1300000
2023-11-21 | 11430 | 11.43 | 7.21 | 7.67 | 140 | 17 | 296 | 36 | 214 | 24 | NA | 700 | 0.3 | 24.32 | 1500000
2023-11-22 | 12360 | 12.36 | 7.15 | 7.57 | 135 | 16 | 292 | 40 | 228 | 22 | NA | 600 | 0.2 | 24.05 | 1200000
2023-11-23 | 12910 | 12.91 | 7.19 | 7.55 | 125 | 17 | 284 | 36 | 224 | 21 | NA | 400 | 0.3 | 23.53 | 1400000
2023-11-24 | 12160 | 12.16 | 7.16 | 7.67 | 130 | 16 | 288 | 32 | 230 | 24 | NA | 500 | 0.2 | 24.06 | 1300000
2023-11-25 | 12140 | 12.14 | 7.18 | 7.69 | 135 | 15 | 280 | 36 | 220 | 23 | NA | 600 | 0.3 | 23.92 | 1700000
2023-11-26 | 13030 | 13.03 | 7.08 | 7.7 | 125 | 16 | 284 | 32 | 212 | 26 | NA | 400 | 0.2 | 23.8 | 1300000
2023-11-27 | 13260 | 13.26 | 7.18 | 7.64 | 135 | 15 | 304 | 36 | 238 | 24 | NA | 500 | 0.3 | 24.1 | 1100000
2023-11-28 | 13320 | 13.32 | 7.12 | 7.66 | 140 | 16 | 300 | 32 | 224 | 23 | NA | 600 | 0.2 | 24.28 | 1400000
2023-11-29 | 13250 | 13.25 | 7.22 | 7.55 | 130 | 15 | 296 | 36 | 225 | 22 | NA | 700 | 0.3 | 24.03 | 1300000
2023-11-30 | 12530 | 12.53 | 7.42 | 7.67 | 135 | 16 | 304 | 36 | 228 | 25 | NA | 400 | 0.2 | 23.92 | 1700000
Average | 12873.6667 | 12.8737 | 7.2387 | 7.607 | 130.3333 | 15.7333 | 293.4667 | 34.5333 | 224.5 | 24.2667 | NA | 530 | 0.25667 | 24.197 | 1356666.6667
386.21
Source: |  | Logbook of Labarotory at Sewage Treament Plant
Min | 11430 | 11.43 | 7.08 | 7.52 | 120 | 14 | 280 | 32 | 210 | 21 |  | 400 | 0.2 | 23.36 | 1100000
Max | 14400 | 14.4 | 7.42 | 7.7 | 140 | 17 | 312 | 40 | 250 | 28 |  | 700 | 0.3 | 24.76 | 1700000